## Introduction
A few things from the author: Only fields in white are to be filled in, by you. Other color fields will be automatically populated based on your number of monitors and sites that you enter into the white fields. There are many factors to consider when deciding how big or small a PQAO should be. While no "formula" could possibly "calculate" the correct answer for you, there are some rules of thumb that I've found out while making this spreadsheet. These are illustrated in the Graphs tab that shows costs on the x-axis and numbers of monitors on the y-axis. NPAP audits are required for gaseous monitors, PEP audits for PM2.5 monitors. You are allowed to spread the QA functions around a PQAO. Thus, as you add sites, the cost of QA per site goes down. However, eventually once enough monitors are added you have to acquire additional QA functions. Then as you add sites, the cost of QA per site goes down again until yet again you acquire enough monitors that you have to acquire additional QA functions. And the cycle repeats itself for each one of these "QA plateaus". For instance, you have to get an NPAP audit for at least 20% of your gaseous pollutant sites for the PQAO each year. 0 sites = $0 of course. 1 site = 1 NPAP audit. So the cost is $2,000 per year for the PQAO of 1 site (or $2,000 per site per year). If the PQAO has 2 sites, you still only need 1 NPAP audit as you are hitting 50% of the PQAO's sites, but now the cost per site per year is $1,000. Same thing for 3, 4 and 5 sites. At 5 sites your cost is $400 per site since you still only need 1 NPAP audit per site per year. So now instead of 5 tribes paying $2,000 a piece, each one only pays $400 at a savings of $1,600 per site. However, adding one more monitor requires 2 NPAP audits per year. So now instead of the PQAO paying $2,000 for NPAP audits, it has to pay $4,000 which is roughly $667 per site. Thus, for adding 1 site, you are doubling the cost for the PQAO for NPAP audits. So, you want to avoid going to the next plateau of 2 NPAP audits if possible if the only consideration is cost. Likewise, you want to stay on the 1 NPAP plateau but maximize it at 5 sites for the most "bang for the buck". These plateaus can be explained mathematically to help you out. In the case of the NPAP audits, you want to avoid the total sites for each pollutant in the PQAO from being = 5x+1 (x being the number of sites). i.e., 1,6,11,16,21...
Also, for PEP audits for PM 2.5 samplers (the equivalent of an NPAP audit) the plateaus are different. 0 sites = 0 PEP audits (of course). 1-5 sites = 5 audits. 6-48 = 8 audits. 49-up = 1/6th of the PQAO. So as you can see you want to avoid 1,6,49... However, you have quite a long plateau from 6-48 without additional audits, so you have a lot of wiggle room there with doing more PEP audits. Finally, getting back to gaseous pollutants... An NPAP audit will cover all gaseous pollutants at each site. So, if you have 1 site with CO, a second site with SO2 and a third site with O3, you need 3 NPAP audits per year since you need to cover 20% of your network on a per gaseous pollutant basis. HOWEVER, if all the CO, SO2 and O3 were located at 1 site, YOU WOULD ONLY NEED 1 NPAP AUDIT PER YEAR since the audit would cover all 3 pollutants. Obviously, there could be good reasons for the monitors at different sites. But if not, then you could save $4,000 per year (in this example) just by locating them all at one site without losing monitoring data.

## Monitors
Monitors in the network - fill in all white parts
General |  | Monitors
|  | Primary | Collocated Needed |  | Monitoring Season
|  |  | FRM | FEM | Starts | Stops
Only fields in white are to be filled in, by you. Other color fields will be automatically populated based on your number of monitors and sites that you enter into the white fields. |  |  |  |  | You need to fill this out
even for year round monitoring
Gasses | Ozone Monitors | 0 |  |  | 2011-01-01 | 2011-12-31
| Carbon Monoxide | 0
| Sulfur Dioxide | 0
| Nitrogen Dioxide | 0
| Total Gaseous Monitors | 0
| Total Gaseous SITES | 0
PM 2.5 | PM 2.5 FRM Method A | 0 | 0 | Can't use |  |  | 0 | 0 | 0
| PM 2.5 FRM Method B | 0 | 0 | Can't use |  |  | 0 | 0 | 0
| PM 2.5 FRM Method C | 0 | 0 | Can't use |  |  | 0 | 0 | 0
| PM 2.5 FRM Method D | 0 | 0 | Can't use |  |  | 0 | 0 | 0
| PM 2.5 FEM Method A | 0 | 0 | 0 |  |  | 0 | 0 | 0
| PM 2.5 FEM Method B | 0 | 0 | 0 |  |  | 0 | 0 | 0
| PM 2.5 FEM Method C | 0 | 0 | 0 |  |  | 0 | 0 | 0
| PM 2.5 FEM Method D | 0 | 0 | 0 |  |  | 0 | 0 | 0
| Total PM 2.5 Samplers | 0 | 0 | 0 |  |  | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
PM 10 | PM 10 High Volume | 0 | 0 |  |  |  | 0 | 0 | 0
| PM 10 Low Volume | 0
| PM 10 Continuous | 0 |  |  |  |  | 0 | 0 | 0
| Total PM 10 Samplers | 0 | 0 |  |  |  | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
Lead | Lead (TSP sampler) | 0 | 0 |  |  |  | 0 | 0 | 0
| Lead (PM 10 sampler) | 0 | 0 |  |  |  | 0 | 0 | 0
| Total Lead Samplers | 0 | 0 |  |  |  | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
Click Here for 40 CFR Part 58
Click Here for a List of Approved FRMs and FEMs | [6 empty] | 0 | 0 | 0
Click here to ask questions about how to use this PQAO spreadsheet | [6 empty] | 0 | 0 | 0
The entire file is editable: just unprotect each worksheet that you want to work on.
In Excel 2003 or earlier go on the Tools menu, point to Protection, and click Unprotect Sheet. There is no password.
In Excel 2007 go on the Review menu and click Unprotect Sheet. There is no password.
Note on C12: YOU MUST COMPLETE NUMBER OF SITES AS WELL AS NUMBER OF ANALYZERS
Note on B14: Jeremy Howe: See below for a link to a list of approved methods

## Checks
QC Checks that YOU are required to do with your own standards
|  | 1- Point QC Checks |  | Flow Rate Verifications |  | Collocated Samples
|  | Each Instrument | Entire Network | Each Instrument | Entire Network | Each Instrument | Entire Network
Gasses | Ozone | 0 | 0
| Carbon Monoxide | 0 | 0
| Sulfur Dioxide | 0 | 0
| Nitrogen Dioxide | 0 | 0
| Total Checks Needed |  | 0
PM 2.5 | PM 2.5 FRM Method A |  |  | 0 | 0 | 0 | 0
| PM 2.5 FRM Method B |  |  | 0 | 0 | 0 | 0
| PM 2.5 FRM Method C |  |  | 0 | 0 | 0 | 0
| PM 2.5 FRM Method D |  |  | 0 | 0 | 0 | 0
| Collocated FRMs w/ FEMs |  |  | 0 | 0 | 0 | 0
| PM 2.5 FEM Method A |  |  | 0 | 0 | 0 | 0
| PM 2.5 FEM Method B |  |  | 0 | 0 | 0 | 0
| PM 2.5 FEM Method C |  |  | 0 | 0 | 0 | 0
| PM 2.5 FEM Method D |  |  | 0 | 0 | 0 | 0
| Total PM 2.5 Samplers |  |  | 0 |  | 0
PM 10 | PM 10 High Volume |  |  | 0 | 0 | 0 | 0
| PM 10 Low Volume |  |  | 0
| PM 10 Continuous |  |  | 0 | 0
| Total PM 10 Samplers |  |  | 0 |  | 0
Lead | Lead (TSP sample) |  |  | 0 | 0 | 0 | 0
| Lead (PM 10 sample) |  |  | 0 | 0 | 0 | 0
| Total Lead Samplers |  |  | 0 |  | 0
Number of checks INCLUDE collocated monitors
Note on C2: Jeremy Howe: Described in Section 3.2.1 of Appx A
Note on E2: Jeremy Howe: Described in Section 3.2.3 of Appx A
Note on G2: Jeremy Howe: Described in Section 3.2.5 of Appx A
Note on F22: Jeremy Howe: Assumes all collocated are low vol which need verified every month instead of every quarter like hi vol

## Audits
Audits that you are required to get
All fields will be automatically populated based on your input to the white fields in the Monitors tab.
| Completely Independent Audits |  |  | Annual Performance Evaluation |  | Semi-Annual Flow Rate Audits
| NPAP | PEP | Pb PEP | Each Instrument | Whole Network | Each Instrument | Whole Network
Ozone |  |  |  | 0 | 0
Carbon Monoxide |  |  |  | 0 | 0
Sulfur Dioxide |  |  |  | 0 | 0
Nitrogen Dioxide |  |  |  | 0 | 0
Gasses | 0 |  |  | 0
PM 2.5 |  | 0 |  |  |  | 0 | 0
PM 10 | [5 empty] | 0 | 0
Lead |  |  | 0 |  |  | 0 | 0
Lead PEP Collocated |  |  | 0
Note on B3: Jeremy Howe: NPAP and PEP audits are required even if you are doing annual audits from an outside organization
Note on E3: Jeremy Howe: Described in Section 3.2.2 of Appx A
Note on G3: Jeremy Howe: Described in Section 3.2.4 of Appx A
Note on C4: Jeremy Howe: Described in Section 3.2.7 of Appx A
Note on D15: Jeremy Howe: 1/4 PEP if < 5 sites, 2/6 PEP if > 5 sites

## Costs
This is how much money you need for audits - fill in all white parts
| Completely Independent Audits |  |  | Annual Performance Evaluation |  | Semi-Annual Flow Rate Audits
| NPAP | PEP | Pb PEP | Each Instrument | Whole Network | Each Instrument | Whole Network
Gasses | 0 |  |  | 300 | 0
PM 2.5 |  | 0 |  |  |  | 300 | 0
PM 10 | [5 empty] | 300 | 0
Lead |  |  | 0 |  |  | 300 | 0
Grand Total | 0
Enter cost for each audit here - Defaults are estimates ONLY!
You need to look up actual costs for audits - see green link below
Gasses | 1669 |  |  | 300
PM 2.5 |  | 2468.9 |  |  |  | 300
PM 10 | [5 empty] | 300
Lead |  |  | 2468.9 |  |  | 300
Lead PEP Collocated |  |  | 1000
Click here to find the costs for Completely Independent Audits in your EPA Region
Note on E2: Jeremy Howe: Described in Section 3.2.2 of Appx A
Note on G2: Jeremy Howe: Described in Section 3.2.4 of Appx A
Note on C3: Jeremy Howe: Described in Section 3.2.7 of Appx A
Note on D10: Jeremy Howe: 1/4 PEP if < 5 sites, 2/6 PEP if > 5 sites
Note on D27: Jeremy Howe: Uses collocated monitor with filter and analysis from Lead PEP lab

## PQAO Consolidation
Example scenario of audit costs for separate and joined PQAOs - Fill in all white fields
Tribe PQAO | Number of Gaseous SITES | Number of NPAP Audits Required | NPAP Cost | Number of PM2.5 SITES | Number of Collocation Required | Number of PEP Required | PEP Cost | Total PEP and NPAP
A (your tribe) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
J | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
K | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
L | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If Separate PQAOs |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
If All in One PQAO |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Savings |  | 0 | 0 |  | 0 | 0 | 0 | 0
Your Tribe's Cost |  |  | Alone |  | In PQAO |  | Savings
Per Year |  |  | 0 |  | #DIV/0! |  | #DIV/0!

## Lookup Table
Gas | PM | NPAP | PEP |  | $NPAP | $PEP | $Total | $/site
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | 1 | 5 | 1 | 2200 | 10000 | 12200 | 10000
2 | 2 | 1 | 5 | 2 | 2200 | 10000 | 12200 | 5000
3 | 3 | 1 | 5 | 3 | 2200 | 10000 | 12200 | 3333.3333
4 | 4 | 1 | 5 | 4 | 2200 | 10000 | 12200 | 2500
5 | 5 | 1 | 5 | 5 | 2200 | 10000 | 12200 | 2000
6 | 6 | 2 | 8 | 6 | 4400 | 16000 | 20400 | 2666.6667
7 | 7 | 2 | 8 | 7 | 4400 | 16000 | 20400 | 2285.7143
8 | 8 | 2 | 8 | 8 | 4400 | 16000 | 20400 | 2000
9 | 9 | 2 | 8 | 9 | 4400 | 16000 | 20400 | 1777.7778
10 | 10 | 2 | 8 | 10 | 4400 | 16000 | 20400 | 1600
11 | 11 | 3 | 8 | 11 | 6600 | 16000 | 22600 | 1454.5455
12 | 12 | 3 | 8 | 12 | 6600 | 16000 | 22600 | 1333.3333
13 | 13 | 3 | 8 | 13 | 6600 | 16000 | 22600 | 1230.7692
14 | 14 | 3 | 8 | 14 | 6600 | 16000 | 22600 | 1142.8571
15 | 15 | 3 | 8 | 15 | 6600 | 16000 | 22600 | 1066.6667
16 | 16 | 4 | 8 | 16 | 8800 | 16000 | 24800 | 1000
17 | 17 | 4 | 8 | 17 | 8800 | 16000 | 24800 | 941.1765
18 | 18 | 4 | 8 | 18 | 8800 | 16000 | 24800 | 888.8889
19 | 19 | 4 | 8 | 19 | 8800 | 16000 | 24800 | 842.1053
20 | 20 | 4 | 8 | 20 | 8800 | 16000 | 24800 | 800
21 | 21 | 5 | 8 | 21 | 11000 | 16000 | 27000 | 761.9048
22 | 22 | 5 | 8 | 22 | 11000 | 16000 | 27000 | 727.2727
23 | 23 | 5 | 8 | 23 | 11000 | 16000 | 27000 | 695.6522
24 | 24 | 5 | 8 | 24 | 11000 | 16000 | 27000 | 666.6667
25 | 25 | 5 | 8 | 25 | 11000 | 16000 | 27000 | 640
26 | 26 | 6 | 8 | 26 | 13200 | 16000 | 29200 | 615.3846
27 | 27 | 6 | 8 | 27 | 13200 | 16000 | 29200 | 592.5926
28 | 28 | 6 | 8 | 28 | 13200 | 16000 | 29200 | 571.4286
29 | 29 | 6 | 8 | 29 | 13200 | 16000 | 29200 | 551.7241
30 | 30 | 6 | 8 | 30 | 13200 | 16000 | 29200 | 533.3333
31 | 31 | 7 | 8 | 31 | 15400 | 16000 | 31400 | 516.129
32 | 32 | 7 | 8 | 32 | 15400 | 16000 | 31400 | 500
33 | 33 | 7 | 8 | 33 | 15400 | 16000 | 31400 | 484.8485
34 | 34 | 7 | 8 | 34 | 15400 | 16000 | 31400 | 470.5882
35 | 35 | 7 | 8 | 35 | 15400 | 16000 | 31400 | 457.1429
36 | 36 | 8 | 8 | 36 | 17600 | 16000 | 33600 | 444.4444
37 | 37 | 8 | 8 | 37 | 17600 | 16000 | 33600 | 432.4324
38 | 38 | 8 | 8 | 38 | 17600 | 16000 | 33600 | 421.0526
39 | 39 | 8 | 8 | 39 | 17600 | 16000 | 33600 | 410.2564
40 | 40 | 8 | 8 | 40 | 17600 | 16000 | 33600 | 400
41 | 41 | 9 | 8 | 41 | 19800 | 16000 | 35800 | 390.2439
42 | 42 | 9 | 8 | 42 | 19800 | 16000 | 35800 | 380.9524
43 | 43 | 9 | 8 | 43 | 19800 | 16000 | 35800 | 372.093
44 | 44 | 9 | 8 | 44 | 19800 | 16000 | 35800 | 363.6364
45 | 45 | 9 | 8 | 45 | 19800 | 16000 | 35800 | 355.5556
46 | 46 | 10 | 8 | 46 | 22000 | 16000 | 38000 | 347.8261
47 | 47 | 10 | 8 | 47 | 22000 | 16000 | 38000 | 340.4255
48 | 48 | 10 | 8 | 48 | 22000 | 16000 | 38000 | 333.3333
49 | 49 | 10 | 9 | 49 | 22000 | 18000 | 40000 | 367.3469
50 | 50 | 10 | 9 | 50 | 22000 | 18000 | 40000 | 360