## Slide 1
Red Lake Solar Project

## Slide 3: Goals of Phase One
Install solar at main buildings of Red Lake
Reduce dependence on coal
Reduce long-term operating expenses
Familiarize the community with solar:
  Explore business opportunities
  Training and job creation

## Slide 4: Questions to be answered
Can we work with local utilities?
How much energy do buildings use?
What can solar deliver at buildings?
 Do a feasibility study

## Slide 5: Feasibility Study
1. What are utility requirements?
2. Are building roofs suitable?
  Review 12 months of billing history
  Google Earth array layouts
  Engineering review of roof structure
3. Financing considerations

## Slide 6: What did We Find Out?
1. The electric coop cannot take solar power back into their system!
  Antiquated net-metering tariffs
  Too much unused capacity during daytime
2. All solar power must stay at buildings
  Must be used behind the meter
  Requires large-scale energy storage

## Slide 7
Morning Peak
Evening Peak
Solar

## Slide 10
Use immediately
Storage
Peak Demand

## Slide 12
Chart: Red Lake Casino Load Curve on July 26, 2015

## Slide 13: Two Stages of Phase One
1. Rooftop solar power systems
   Government Center in 2018
   Tribal College in 2018/2019
2. Casino & Hotel Campuses
   Must all be used behind the meter
   Huge opportunity for solar + storage
   Among the largest storage in Minnesota

## Slide 14
Red Lake Government Center

## Slide 18
Red Lake Nation Solar Project |  | Stage 1 2018 | Stage 2 2019 | Stage 3 2020
Red Lake Government Center |  | Roof Top |  | 
 |  | No Storage |  | 
Red Lake Tribal College |  | Roof Top |  | 
 |  | Storage |  | 
Red Lake Casino & Hotel |  |  | Roof Top | Ground Mount
 |  |  | Storage | 
Warroad Casino & Hotel |  |  | Roof Top | 
 |  |  | Storage | 
Thief River Falls Casino & Hotel |  |  | Roof Top | Ground Mount
 |  |  | Storage | 
Ponema K – 8 School |  |  | Roof Top | 
 |  |  | Storage | 
Red Lake Early Childhood |  |  | Roof Top | 
 |  |  | Storage | 
Red Lake Elementary |  |  | Roof top | 
 |  |  | Storage | 
Criminal Justice Complex |  |  | Roof Top | Ground Mount
 |  |  | Storage | 
Red Lake Middle & High Schools |  |  | Roof Top | Ground Mount
 |  |  | Storage | 
Central PV System |  |  | Solar Farm | Solar Farm

## Slide 19
Finance Model
Must pass Federal tax benefits through to Red Lake
Crowdfunding encourages local investment
 better terms than banks give for savings accounts!
Flips ownership to Red Lake at 7th year
Must finance ‘energy storage’ also

## Slide 20
Prototype for Government Center
Funding of $130,000 for 67 kilowatts on roof
$20,000 of tax equity investment
 $110,000 in personal loans paid back with tax credits
 Investor can claim all $130,000 for tax purposes
 Plus sale of PV system to Red Lake at year 7

## Slide 21: Contact Info
Robert Blake
Robert@solarbear.earth
Ralph Jacobson
ralphj@ips-solar.com